{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["废气排放"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废气排放","index":0,"n_rows":40,"n_cols":24,"rows_kept":40,"merged":[[1,0,39,0],[1,1,39,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/h)","温度(°C)","湿度(%)","含氧量(%)","流速(m/s)","生产负荷(%)","实测浓度","折算浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","1#焚烧炉排气筒(FQ -024400057)","汞及其化合物","2025-06-09","","","","","","","<0.0056","<0.0056","0.05","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","1#焚烧炉排气筒(FQ -024400057)","镉、铊及其化合物（以Cd +Tl计）","2025-06-09","","","","","","","0.000021","0.000015","0.1","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","1#焚烧炉排气筒(FQ -024400057)","锑，砷，铅，铬，钴，铜，锰，镍及其化合物（以Sb+As+Pb+Cr+Co+Cu+Mn+Ni计）","2025-06-09","","","","","","","0.0120","0.0083","1.0","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","1#焚烧炉排气筒(FQ -024400057)","一氧化碳","2025-06-09","","","","","","","30","20","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","1#焚烧炉排气筒(FQ -024400057)","二氧化硫","2025-06-09","","","","","","","<3","<3","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","1#焚烧炉排气筒(FQ -024400057)","氯化氢","2025-06-09","","","","","","","0.26","0.17","60","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","1#焚烧炉排气筒(FQ -024400057)","颗粒物","2025-06-09","","","","","","","<1","<1","30","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","1#焚烧炉排气筒(FQ -024400057)","氮氧化物","2025-06-09","","","","","","","125","83","300","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表1）生活垃圾焚烧炉主要技术性能指标","1#焚烧炉排气筒(FQ -024400057)","焚烧炉渣热灼减率","2025-06-09","","","","","","","4.6","4.6","5","","%","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表1）生活垃圾焚烧炉主要技术性能指标","3#焚烧炉排气筒(FQ -024400057)","焚烧炉渣热灼减率","2025-06-09","","","","","","","4.8","4.8","5","","%","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","3#焚烧炉排气筒(FQ -024400057)","锑，砷，铅，铬，钴，铜，锰，镍及其化合物（以Sb+As+Pb+Cr+Co+Cu+Mn+Ni计）","2025-06-09","","","","","","","0.0199","0.0162","1.0","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","3#焚烧炉排气筒(FQ -024400057)","镉、铊及其化合物（以Cd +Tl计）","2025-06-09","","","","","","","0.000098","0.000079","0.1","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","3#焚烧炉排气筒(FQ -024400057)","氯化氢","2025-06-09","","","","","","","0.94","0.76","60","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","3#焚烧炉排气筒(FQ -024400057)","一氧化碳","2025-06-09","","","","","","","4","3","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","3#焚烧炉排气筒(FQ -024400057)","颗粒物","2025-06-09","","","","","","","<1","<1","30","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","3#焚烧炉排气筒(FQ -024400057)","二氧化硫","2025-06-09","","","","","","","<3","<3","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","3#焚烧炉排气筒(FQ -024400057)","氮氧化物","2025-06-09","","","","","","","141","115","300","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","3#焚烧炉排气筒(FQ -024400057)","汞及其化合物","2025-06-09","","","","","","","<0.0056","<0.0056","0.05","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","2#焚烧炉排气筒(1)","锑，砷，铅，铬，钴，铜，锰，镍及其化合物（以Sb+As+Pb+Cr+Co+Cu+Mn+Ni计）","2025-06-09","","","","","","","0.0169","0.0116","1.0","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","2#焚烧炉排气筒(1)","一氧化碳","2025-06-09","","","","","","","35","24","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","2#焚烧炉排气筒(1)","颗粒物","2025-06-09","","","","","","","<1","<1","30","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","2#焚烧炉排气筒(1)","氯化氢","2025-06-09","","","","","","","1.04","0.73","60","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","2#焚烧炉排气筒(1)","二氧化硫","2025-06-09","","","","","","","<3","<3","100","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,1小时均值","2#焚烧炉排气筒(1)","氮氧化物","2025-06-09","","","","","","","99","69","300","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","2#焚烧炉排气筒(1)","汞及其化合物","2025-06-09","","","","","","","<0.0056","<0.0056","0.05","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表1）生活垃圾焚烧炉主要技术性能指标","2#焚烧炉排气筒(1)","焚烧炉渣热灼减率","2025-06-09","","","","","","","3.8","3.8","5","","%","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾焚烧污染控制标准(GB18485-2014)","（表4）生活垃圾焚烧排放烟气中污染物限值,测定均值","2#焚烧炉排气筒(1)","镉、铊及其化合物（以Cd +Tl计）","2025-06-09","","","","","","","0.000058","0.00004","0.1","","mg/m3","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","铜","2025-06-09","","","","","","","<0.01","<0.01","40","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","钡","2025-06-09","","","","","","","1.11","1.11","25","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","镍 ","2025-06-09","","","","","","","<0.02","<0.02","0.5","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","砷","2025-06-09","","","","","","","0.00169","0.00169","0.3","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","锌","2025-06-09","","","","","","","0.12","0.12","100","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","总铬","2025-06-09","","","","","","","<0.02","<0.02","4.5","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","硒","2025-06-09","","","","","","","0.0147","0.0147","0.1","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","铍","2025-06-09","","","","","","","<0.004","<0.004","0.02","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","汞","2025-06-09","","","","","","","0.0017","0.0017","0.05","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","铅","2025-06-09","","","","","","","<0.03","<0.03","0.25","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","镉","2025-06-09","","","","","","","<0.01","<0.01","0.15","","mg/L","否","","","是"]
["北控环境再生能源（张家港）有限公司2025年第二季度监督监测数据","北控环境再生能源（张家港）有限公司","土壤污染监管,环境风险管控","生物质能发电-生活垃圾焚烧发电","生活垃圾填埋场污染控制标准(GB16889-2008)","浸出液污染物浓度限值","飞灰车间","六价铬","2025-06-09","","","","","","","<0.004","<0.004","1.5","","mg/L","否","","","是"]